## Instructions
2026-07-28 | Copyright 2006,2012 by AOAC International, all rights reserved.
AOAC International Interlaboratory Study Workbook |  | Version: | 2.1
Blind (Unpaired) Replicates
INSTRUCTIONS
1. SAVE WORKBOOK UNDER STUDY NAME & SAMPLE NUMBER
1.1. After opening the workbook, use File¦Save As to save under a new name indicative of the study and sample number.
2. ENTER DATA:
2.1. Select the Data worksheet.
2.2. Enter information in YELLOW, boxed cells ONLY!
2.3. Leave unused cells empty.
2.4. Do NOT delete or insert Rows or Columns!
2.5. To remove data, select the range of cells and press the "Delete" key.
2.6. To paste data from another source, use Edit¦Paste Special¦Values.
2.7. Save your workbook to protect against loss.
3. REVIEW RESULTS:
3.1. Select the Results worksheet.
3.2. Evaluate data by examining statistics on the Results worksheet.
3.3. If laboratory outliers are found, remove the related information on the Data sheet (see Step 1.5 above).
3.4. Save your workbook to protect against loss.
4. REPORT RESULTS
4.1. Select the Report worksheet.
4.2. Print and report the Report worksheet.
5. SAVE DATA:
5.1. Once you are confident the analysis is complete, save the workbook.

## Data
2026-07-28 | Copyright 2006,2012 by AOAC International, all rights reserved.
AOAC International Interlaboratory Study Workbook | [5 empty] | Version: | 2.1
Blind (Unpaired) Replicates
Data Sheet
Name of study:
Date of study:
Sample ID:
Factor for Units of measurement: |  |  |  | (% = 1E-2, mg/100g = 1E-5, ppm = 1E-6, ppb = 1E-9, etc.)
INSTRUCTIONS: |  |  | 1. Enter information in YELLOW, boxed cells ONLY!
2. Leave unused cells empty.
3. Do NOT delete or insert Rows or Columns!
4. To remove data, select the range of cells and press the "Delete" key.
5. The worksheet is protected: To paste values from another sheet, use Edit¦Paste Special¦Values.
| Replicate | Replicate | Replicate | Replicate | Replicate
Laboratory | 1 | 2 | 3 | 4 | 5
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50

## Results
2026-07-28 | Copyright 2006,2012 by AOAC International, all rights reserved.
AOAC International Interlaboratory Study Workbook |  |  | Version: | 2.1
Blind (Unpaired) Replicates
Results Sheet
Seq. | Item | Symbol | Value
| Study name: |  | 0
| Study date: |  | 0
Sample ID:
1 | Total number of laboratories | p | 0
2 | Total number of replicates | Sum(n(L)) | 0
3 | Average number of replicates per lab | Sum(n(L))/p | #DIV/0!
4 | Sum of replicates squared | Sum(n(L)^2) | 0
5 | Sum of lab totals | Sum(Lab Totals) | 0
6 | Sum of lab averages | Sum(Lab Avg.) | 0
7 | Sum of lab totals squared/n(L) | Sum(T(L)^2/n(L)) | 0
8 | Sum of squares for replicates | SSQ(devn.) | 0
9 | Sum of Squares for Labs | LSS
10 | Effective mean number of reps per lab | NBAR
11 | Unweighted mean of the laboratory averages | XBAR
12 | Overall mean of all data (grand mean) | XBARBAR | #DIV/0!
13 | Repeatability variance | s(r)^2
14 | Repeatability standard deviation | s(r)
15 | "Pure" among laboratories variance | s(L)^2
16 | Reproducibility variance | s(R)^2
17 | Reproducibility standard deviation | s(R)
18 | Repeatability relative standard deviation | RSD(r)
19 | Reproducibility relative standard deviation | RSD(R)
20 | Repeatability value = 2.8*s(r) | r
21 | Reproducibility value = 2.8*s(R) | R
22 | HORRAT value
Record these values for Results
| Number of Laboratories |  | 0
| Largest within variance |  | 0
Largest average lab result
Smallest average lab result
If proportion of labs removed from the total is less than 2/9, then
Cochran's Test =
| Critical value, 2.5% significance = |  | #DIV/0!
| Result = |  | #DIV/0!
| with maximum within lab variance for |  | #N/A
If Cochran test is not significant, then proceed
| Single Grubb's Test = |  | #VALUE!
| Critical value, 2.5% significance = |  | #N/A
| Result = |  | #VALUE!
| highest average at |  | #VALUE!
| gives % decrease in standard deviation = |  | #VALUE!
lowest average at
| gives % decrease in standard deviation = |  | #DIV/0!
If Single Grubb's test is not significant, then proceed
| Double Grubb's Test = |  | #DIV/0!
| Critical value, 2.5% significance = |  | #N/A
| Result = |  | #DIV/0!
Excluding the highest avg. and next highest avg
| gives % decrease in standard deviation = |  | #DIV/0!
Excluding the lowest avg. and next lowest avg
| gives % decrease in standard deviation = |  | #DIV/0!
Excluding the highest avg. and lowest avg
| gives % decrease in standard deviation = |  | #DIV/0!

## Report
2026-07-28 | Copyright 2006,2012 by AOAC International, all rights reserved.
AOAC International Interlaboratory Study Workbook |  |  | Version: | 2.1
Blind (Unpaired) Replicates
Study Reported Values
Seq. | Item | Symbol | Value
| Study name: |  | 0
| Study date: |  | 0
Sample ID:
1 | Total number of laboratories | p | 0
2 | Total number of replicates | Sum(n(L)) | 0
3 | Overall mean of all data (grand mean) | XBARBAR | #DIV/0!
4 | Repeatability standard deviation | s(r)
5 | Reproducibility standard deviation | s(R)
6 | Repeatability relative standard deviation | RSD(r)
7 | Reproducibility relative standard deviation | RSD(R)
8 | HORRAT value

## Calculations
2026-07-28 | Copyright 2006,2012 by AOAC International, all rights reserved.
AOAC International Interlaboratory Study Workbook | [6 empty] | Version: | 2.1
Blind (Unpaired) Replicates
Calculations Sheet |  |  |  | 0
Summary Statistics
0 | Largest within variance |  |  |  | #VALUE! | S(2H)
| Largest average lab result |  |  |  | #VALUE! | Max Val(1)
| Smallest average lab result |  |  |  | #VALUE! | Max Val(2)
#DIV/0! | Grand average of all lab averages |  |  |  | #VALUE! | S(2L)
#DIV/0! | s |  |  |  | #VALUE! | Min Val(1)
#VALUE! | S(h) |  |  |  | #VALUE! | Min Val(2)
#VALUE! | S(l) |  |  |  | #VALUE! | S(HL)
#VALUE! |  |  |  |  | #VALUE! | Max Val
#VALUE! |  |  |  |  | #VALUE! | Min Val
0 | # Laboratories
Lab | # Lab Replicates given | Sum of Lab Results | Average Lab Result | Average Lab Result^2 | Results^2 | Sum of Results^2/#Reps | DEVN of Sq | Variance within | DEVN of Sq |  | Average Lab Result^2
1 | [9 empty] | Lab 1 |  | Lab 1
2 | [9 empty] | Lab 2 |  | Lab 2
3 | [9 empty] | Lab 3 |  | Lab 3
4 | [9 empty] | Lab 4 |  | Lab 4
5 | [9 empty] | Lab 5 |  | Lab 5
6 | [9 empty] | Lab 6 |  | Lab 6
7 | [9 empty] | Lab 7 |  | Lab 7
8 | [9 empty] | Lab 8 |  | Lab 8
9 | [9 empty] | Lab 9 |  | Lab 9
10 | [9 empty] | Lab 10 |  | Lab 10
11 | [9 empty] | Lab 11 |  | Lab 11
12 | [9 empty] | Lab 12 |  | Lab 12
13 | [9 empty] | Lab 13 |  | Lab 13
14 | [9 empty] | Lab 14 |  | Lab 14
15 | [9 empty] | Lab 15 |  | Lab 15
16 | [9 empty] | Lab 16 |  | Lab 16
17 | [9 empty] | Lab 17 |  | Lab 17
18 | [9 empty] | Lab 18 |  | Lab 18
19 | [9 empty] | Lab 19 |  | Lab 19
20 | [9 empty] | Lab 20 |  | Lab 20
21 | [9 empty] | Lab 21 |  | Lab 21
22 | [9 empty] | Lab 22 |  | Lab 22
23 | [9 empty] | Lab 23 |  | Lab 23
24 | [9 empty] | Lab 24 |  | Lab 24
25 | [9 empty] | Lab 25 |  | Lab 25
26 | [9 empty] | Lab 26 |  | Lab 26
27 | [9 empty] | Lab 27 |  | Lab 27
28 | [9 empty] | Lab 28 |  | Lab 28
29 | [9 empty] | Lab 29 |  | Lab 29
30 | [9 empty] | Lab 30 |  | Lab 30
31 | [9 empty] | Lab 31 |  | Lab 31
32 | [9 empty] | Lab 32 |  | Lab 32
33 | [9 empty] | Lab 33 |  | Lab 33
34 | [9 empty] | Lab 34 |  | Lab 34
35 | [9 empty] | Lab 35 |  | Lab 35
36 | [9 empty] | Lab 36 |  | Lab 36
37 | [9 empty] | Lab 37 |  | Lab 37
38 | [9 empty] | Lab 38 |  | Lab 38
39 | [9 empty] | Lab 39 |  | Lab 39
40 | [9 empty] | Lab 40 |  | Lab 40
41 | [9 empty] | Lab 41 |  | Lab 41
42 | [9 empty] | Lab 42 |  | Lab 42
43 | [9 empty] | Lab 43 |  | Lab 43
44 | [9 empty] | Lab 44 |  | Lab 44
45 | [9 empty] | Lab 45 |  | Lab 45
46 | [9 empty] | Lab 46 |  | Lab 46
47 | [9 empty] | Lab 47 |  | Lab 47
48 | [9 empty] | Lab 48 |  | Lab 48
49 | [9 empty] | Lab 49 |  | Lab 49
50 | [9 empty] | Lab 50 |  | Lab 50
1
0.01
0.001
0.0001
1e-05
1e-06
1e-07
1e-08
1e-09

## Cochran
2026-07-28 | Copyright 2006,2012 by AOAC International, all rights reserved.
AOAC International Interlaboratory Study Workbook |  |  |  |  | Version: | 2.1
Blind (Unpaired) Replicates
Critical values for Cochran maximum variance ratio test, 2.5% significance level
Per: Horwitz, W., Pure & Appl Chem 67(2):331-343, 1995.
# | Number of replicates per laboratory
Labs | 2 | 3 | 4 | 5
1 | 100% | 100% | 100% | 100%
2 | 100% | 100% | 100% | 100%
3 | 100% | 100% | 100% | 100%
4 | 94.3% | 81% | 72.5% | 65.4%
5 | 88.6% | 72.6% | 64.6% | 58.1%
6 | 83.2% | 65.8% | 58.3% | 52.2%
7 | 78.2% | 60.2% | 52.2% | 47.3%
8 | 73.6% | 55.6% | 47.4% | 43%
9 | 69.3% | 51.8% | 43.3% | 39.3%
10 | 65.5% | 48.6% | 39.9% | 36.2%
11 | 62.2% | 45.8% | 37.2% | 33.6%
12 | 59.2% | 43.1% | 35% | 31.3%
13 | 56.4% | 40.5% | 33.2% | 29.2%
14 | 53.8% | 38.3% | 31.5% | 27.3%
15 | 51.5% | 36.4% | 29.9% | 25.7%
16 | 49.5% | 34.7% | 28.4% | 24.4%
17 | 47.8% | 33.2% | 27.1% | 23.3%
18 | 46% | 31.8% | 25.9% | 22.4%
19 | 44.3% | 30.5% | 24.8% | 21.5%
20 | 42.8% | 29.3% | 23.8% | 20.7%
21 | 41.5% | 28.2% | 22.9% | 19.9%
22 | 40.3% | 27.2% | 22% | 19.2%
23 | 39.1% | 26.3% | 21.2% | 18.5%
24 | 37.9% | 25.5% | 20.5% | 17.8%
25 | 36.7% | 24.8% | 19.9% | 17.2%
26 | 35.5% | 24.1% | 19.3% | 16.6%
27 | 34.5% | 23.4% | 18.7% | 16.1%
28 | 33.7% | 22.7% | 18.1% | 15.7%
29 | 33.1% | 22.1% | 17.5% | 15.3%
30 | 32.5% | 21.6% | 16.9% | 14.9%
31 | 31.52% | 21.05% | 16.69% | 14.41%
32 | 30.8% | 20.54% | 16.28% | 14.04%
33 | 30.11% | 20.06% | 15.88% | 13.69%
34 | 29.45% | 19.59% | 15.51% | 13.35%
35 | 28.8% | 19.2% | 15.2% | 12.9%
36 | 28.21% | 18.73% | 14.81% | 12.73%
37 | 27.63% | 18.33% | 14.49% | 12.44%
38 | 27.08% | 17.94% | 14.18% | 12.16%
39 | 26.54% | 17.57% | 13.89% | 11.9%
40 | 26% | 17.2% | 13.5% | 11.6%
41 | 25.53% | 16.88% | 13.33% | 11.4%
42 | 25.06% | 16.55% | 13.07% | 11.17%
43 | 24.6% | 16.23% | 12.82% | 10.95%
44 | 24.16% | 15.93% | 12.58% | 10.74%
45 | 23.73% | 15.64% | 12.35% | 10.53%
46 | 23.32% | 15.36% | 12.13% | 10.34%
47 | 22.92% | 15.09% | 11.92% | 10.15%
48 | 22.54% | 14.83% | 11.71% | 9.963%
49 | 22.16% | 14.57% | 11.51% | 9.787%
50 | 21.6% | 14.3% | 11.4% | 9.7%
NOTES: | 1. Values in red are corrected from original table.[RAL]
2. Values for 31-34, 36-39, 41-49 are interpolated.

## Grubbs
2026-07-28 | Copyright 2006,2012 by AOAC International, all rights reserved.
AOAC International Interlaboratory Study Workbook |  |  | Version: | 2.1
Blind (Unpaired) Replicates
Critical values for modified Grubb's outlier test, one-tail 1.25% significance level
Per: McClure, F.D., Lee, J.-K.and Wilson, D.B., J AOAC 86(5):1045-1055, 2003.
# | Remove | Remove
Labs | 1 | 2
1 | 100% | 100%
2 | 100% | 100%
3 | 100% | 100%
4 | 86.33% | 98.8%
5 | 73.86% | 90.6%
6 | 64.03% | 81%
7 | 56.47% | 73%
8 | 50.58% | 66%
9 | 45.87% | 60.7%
10 | 42.03% | 56.1%
11 | 38.83% | 52.1%
12 | 36.12% | 48.9%
13 | 33.8% | 45.9%
14 | 31.79% | 43.4%
15 | 30.02% | 40.9%
16 | 28.46% | 39.1%
17 | 27.07% | 37.5%
18 | 25.82% | 35.7%
19 | 24.69% | 34.1%
20 | 23.66% | 33%
21 | 22.73% | 31.6%
22 | 21.87% | 30.6%
23 | 21.08% | 29.7%
24 | 20.35% | 28.6%
25 | 19.67% | 28%
26 | 19.04% | 27%
27 | 18.46% | 26.2%
28 | 17.91% | 25.4%
29 | 17.4% | 24.7%
30 | 16.91% | 24%
31 | 16.46% | 23.55%
32 | 16.03% | 22.98%
33 | 15.63% | 22.43%
34 | 15.25% | 21.92%
35 | 14.88% | 21.43%
36 | 14.54% | 20.96%
37 | 14.21% | 20.51%
38 | 13.9% | 20.08%
39 | 13.6% | 19.67%
40 | 13.32% | 19.2%
41 | 13.05% | 18.9%
42 | 12.79% | 18.54%
43 | 12.54% | 18.19%
44 | 12.3% | 17.85%
45 | 12.07% | 17.53%
46 | 11.86% | 17.21%
47 | 11.64% | 16.91%
48 | 11.44% | 16.62%
49 | 11.25% | 16.34%
50 | 11.06% | 16.2%
NOTES: | 1. Values in red are corrected from original table.
2. Values for 31-39, 41-49 were interpolated for 2 outliers.

## Changes
2026-07-28 | Copyright 2006,2012 by AOAC International, all rights reserved.
AOAC International Interlaboratory Study Workbook |  |  | Version: | 2.1
Blind (Unpaired) Replicates
created: | 04.04.06 by r.a. labudde from Working_Bal_Horrat_Mod1.xls
changes: | 04.07.06 ral, clean up format
07.03.06 ral, v1.2, convert to 50 labs, add critical value sheets
07.05.06 ral, v1.3, correct summation of more than 3 replicates
08.07.06 ral, v1.4, correct single Grubb's lab reference (Results!D43), add Results sheet, add Overall Mean
conditional formatting on significance tests, update Instructions.
08.14.06 ral,v1.5, correct conditional formatting, move Report to after Results, format of Factor on Data to scientific.
08.14.06 ral, v1.6, drop color on Results.
09.14.06 ral, v1.7, extend instructions, add study name and date, fix Cochran test lookup (round ave replicates).
09.15.06 ral, v2.0, release to general AOAC.
03.06.12 ral, v2.1, fix Cochran critical value.