## Instructions
2026-07-28 | Copyright 2008,2009,2010,2011,2013 by AOAC International, all rights reserved.
AOAC Binary Data Interlaboratory Study Workbook |  | Version: | 2.3
INSTRUCTIONS
1. ENTER DATA:
1.1. Select the Data worksheet.
1.2. Enter information in BLUE, YELLOW background, boxed cells ONLY! Each replicate value will be 0 (for negative) or 1 (for positive).
1.3. Leave unused cells empty.
1.4. Do NOT delete or insert Rows or Columns!
1.5. To remove data, select the range of cells and press the "Delete" key.
2. REVIEW RESULTS:
2.1. Select the Results worksheet.
2.2. Evaluate data by examining statistics on the Results worksheet.
2.3. If the laboratory effect estimate has a lower confidence limit above 0.0, the laboratories detectably vary in performance.
3. REPORT RESULTS
3.1. Select the Report worksheet.
3.2. Print and report the Report worksheet.
4. SAVE DATA:
4.1. Don't forget to save the workbook after you have entered your data!

## Data
2026-07-28 | Copyright 2008,2009,2010,2011,2013 by AOAC International, all rights reserved.
AOAC Binary Data Interlaboratory Study Workbook | [5 empty] | Version: | 2.3
Data Sheet
Sample ID: |  | 100.0 % SSTM
INSTRUCTIONS: |  | 1. Enter information in YELLOW background, boxed cells ONLY!
2. Leave unused cells empty.
3. Do NOT delete or insert Rows or Columns!
4. To remove data, select the range of cells and press the "Delete" key.
5. The worksheet is protected: To paste values from another sheet, use Edit¦Paste Special¦Values.
| Number | Number |  | 95% | 95%
Laboratory | Replicates | Positive | POD | LCL | LCL
1 | 12 | 12 | 1 | 0.7575 | 1
2 | 12 | 12 | 1 | 0.7575 | 1
3 | 12 | 12 | 1 | 0.7575 | 1
4 | 12 | 12 | 1 | 0.7575 | 1
5 | 12 | 12 | 1 | 0.7575 | 1
6 | 12 | 11 | 0.91667 | 0.64612 | 1
7 | 12 | 12 | 1 | 0.7575 | 1
8 | 12 | 12 | 1 | 0.7575 | 1
9 | 12 | 12 | 1 | 0.7575 | 1
10 | 12 | 12 | 1 | 0.7575 | 1
11 | 12 | 12 | 1 | 0.7575 | 1
12 | 12 | 12 | 1 | 0.7575 | 1
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50

## Results
2026-07-28 | Copyright 2008,2009,2010,2011,2013 by AOAC International, all rights reserved.
AOAC Binary Data Interlaboratory Study Workbook |  |  | Version: | 2.3
Results Sheet
|  |  |  | Approx. | Approx.
|  |  |  | 95% | 95%
Seq. | Item | Symbol | Value | LCL | UCL
| Sample ID: |  | 100.0 % SSTM
1 | Total number of laboratories | p | 12
2 | Total number of replicates | Sum(n(L)) | 144
3 | Average number of replicates per lab | Sum(n(L))/p | 12
4 | Sum of replicates squared | Sum(n(L)^2) | 1728
5 | Sum of lab totals | Sum(Lab Totals) | 143
6 | Sum of lab averages | Sum(Lab Avg.) | 11.9167
7 | Sum of lab totals squared/n(L) | Sum(T(L)^2/n(L)) | 142.0833
8 | Sum of squares for replicates | SSQ(devn.) | 0.91667
9 | Sum of Squares for Labs | LSS | 0.076389
10 | Effective mean number of reps per lab | NBAR | 12
11 | Unweighted mean of the laboratory averages | XBAR | 0.99306 |  |  | d.f. | t | s |  | Modified Wilson CI
12 | Overall mean of all data (grand mean) | LPOD | 0.99306 | 0.96171 | 0.99877 | 132 | 1.9781 | 0.0069444 |  | 0.96171 | 0.99877
13 | Total POD variance | V(POD) | 0.0005787
14 | Repeatability std. dev. for all 0 or 1 data | delta(r) | 0.15701
15 | Largest possible repeatability variance |  | 0.27273
16 | Largest possible among-POD variance | max s(POD)^2 | 0.27273
17 | Repeatability variance | s(r)^2 | 0.0069444 | 0.0055322 | 0.024652
18 | Repeatability standard deviation | s(r) | 0.083333 | 0.074379 | 0.15701 | a | b | e | d | fcrit1 | c | V(LCL) | fcrit2 | f | V(UCL)
19 | Among laboratories variance | s(L)^2 | 0 | 0 | 0.0010884 | 0.49818 | 0.29299 | 0.20336 | 1.8828 | 2.092 | 0.009776 | 1.1514e-07 | 0.3403 | -0.048968 | 1.1846e-06
20 | Among laboratories std. deviation | s(L) | 0 | 0 | 0.032991
21 | Homogeneity test of laboratories | T | 11.0769 | p-value | 0.43684 | gamma | W(LCL) | W(UCL)
22 | Reproducibility variance | s(R)^2 | 0.0069444 | 0.0056182 | 0.0091045 | 0.91667 | 1.7589e-06 | 4.6658e-06
23 | Reproducibility standard deviation | s(R) | 0.083333 | 0.074955 | 0.095417
24 | Repeatability relative standard deviation | RSD(r) | 8.3916 | %
25 | Reproducibility relative standard deviation | RSD(R) | 8.3916 | % |  | eta | xi
26 | Intraclass correlation coefficient for repeatability | I(r) | 1 | 0.86092 | 1 | 0.47802 | 2.9386
27 | Repeatability value = 2.8*s(r) | r | 0.23333
28 | Reproducibility value = 2.8*s(R) | R | 0.23333
Record these values for Results:
| Number of Laboratories |  | 12
| Largest within variance |  | 0.083333
| Largest average lab result |  | 1
| Smallest average lab result |  | 0.91667

## Report
2026-07-28 | Copyright 2008,2009,2010,2011,2013 by AOAC International, all rights reserved.
AOAC Binary Data Interlaboratory Study Workbook |  |  | Version: | 2.3
Study Reported Values
|  |  |  | Appox. | Appox.
|  |  |  | 95% | 95%
Seq. | Item | Symbol | Value | LCL | UCL
| Sample ID: |  | 100.0 % SSTM
1 | Total number of laboratories | p | 12
2 | Total number of replicates | Sum(n(L)) | 144
3 | Overall mean of all data (grand mean) | LPOI or LPOD | 0.99306 | 0.96171 | 0.99877
4 | Repeatability standard deviation | s(r) | 0.083333 | 0.074379 | 0.15701
5 | Among-Laboratories standard deviation | s(L) | 0 | 0 | 0.032991
6 | Homogeneity test of laboratory PODs | p-value | 0.43684
7 | Reproducibility standard deviation | s(R) | 0.083333 | 0.074955 | 0.095417
8 | Intraclass correlation coefficient for repeatability | I(r) | 1 | 0.86092 | 1
9 | Repeatability relative standard deviation | RSD(r) | 8.3916 | %
10 | Reproducibility relative standard deviation | RSD(R) | 8.3916 | %

## Calculations
2026-07-28 | Copyright 2008,2009,2010,2011,2013 by AOAC International, all rights reserved.
AOAC Binary Data Interlaboratory Study Workbook | [6 empty] | Version: | 2.3
Calculations Sheet
Summary Statistics
0.083333 | Largest within variance |  |  |  | 0.026352 | S(2H)
1 | Largest average lab result |  |  |  | 1 | Max Val(1)
0.91667 | Smallest average lab result |  |  |  | 1 | Max Val(2)
0.99306 | Grand average of all lab averages |  |  |  | 0 | S(2L)
0.024056 | s |  |  |  | 0.91667 | Min Val(1)
0.025126 | S(h) |  |  |  | 1 | Min Val(2)
0 | S(l) |  |  |  | 0 | S(HL)
1 |  |  |  |  | 1 | Max Val
0.91667 |  |  |  |  | 0.91667 | Min Val
11.0769 | Homogeneity test statistic |  |  |  |  | T
0.43684 | p-value (reject homogeneity if < 0.10)
12 | # Laboratories | [11 empty] | Number | Number | Number | Expected
Lab | # Lab Replicates given | Sum of Lab Results | Average Lab Result | Average Lab Result^2 | Results^2 | Sum of Results^2/#Reps | DEVN of Sq | Variance within | DEVN of Sq |  | Average Lab Result^2 |  | Replicates | Positive | Negative | Positive | (x-e)^2/(e*(n-e)/n)
1 | 12 | 12 | 1 | 1 | 12 | 12 | 0 | 0 | 0 | Lab 1 | 1 | Lab 1 | 12 | 12 | 0 | 11.9167 | 0.083916
2 | 12 | 12 | 1 | 1 | 12 | 12 | 0 | 0 | 0 | Lab 2 | 1 | Lab 2 | 12 | 12 | 0 | 11.9167 | 0.083916
3 | 12 | 12 | 1 | 1 | 12 | 12 | 0 | 0 | 0 | Lab 3 | 1 | Lab 3 | 12 | 12 | 0 | 11.9167 | 0.083916
4 | 12 | 12 | 1 | 1 | 12 | 12 | 0 | 0 | 0 | Lab 4 | 1 | Lab 4 | 12 | 12 | 0 | 11.9167 | 0.083916
5 | 12 | 12 | 1 | 1 | 12 | 12 | 0 | 0 | 0 | Lab 5 | 1 | Lab 5 | 12 | 12 | 0 | 11.9167 | 0.083916
6 | 12 | 11 | 0.91667 | 0.84028 | 11 | 10.0833 | 0.91667 | 0.083333 | 0.91667 | Lab 6 | 0.91667 | Lab 6 | 12 | 11 | 1 | 11.9167 | 10.1538
7 | 12 | 12 | 1 | 1 | 12 | 12 | 0 | 0 | 0 | Lab 7 | 1 | Lab 7 | 12 | 12 | 0 | 11.9167 | 0.083916
8 | 12 | 12 | 1 | 1 | 12 | 12 | 0 | 0 | 0 | Lab 8 | 1 | Lab 8 | 12 | 12 | 0 | 11.9167 | 0.083916
9 | 12 | 12 | 1 | 1 | 12 | 12 | 0 | 0 | 0 | Lab 9 | 1 | Lab 9 | 12 | 12 | 0 | 11.9167 | 0.083916
10 | 12 | 12 | 1 | 1 | 12 | 12 | 0 | 0 | 0 | Lab 10 | 1 | Lab 10 | 12 | 12 | 0 | 11.9167 | 0.083916
11 | 12 | 12 | 1 | 1 | 12 | 12 | 0 | 0 | 0 | Lab 11 | 1 | Lab 11 | 12 | 12 | 0 | 11.9167 | 0.083916
12 | 12 | 12 | 1 | 1 | 12 | 12 | 0 | 0 | 0 | Lab 12 | 1 | Lab 12 | 12 | 12 | 0 | 11.9167 | 0.083916
13 | [9 empty] | Lab 13 |  | Lab 13
14 | [9 empty] | Lab 14 |  | Lab 14
15 | [9 empty] | Lab 15 |  | Lab 15
16 | [9 empty] | Lab 16 |  | Lab 16
17 | [9 empty] | Lab 17 |  | Lab 17
18 | [9 empty] | Lab 18 |  | Lab 18
19 | [9 empty] | Lab 19 |  | Lab 19
20 | [9 empty] | Lab 20 |  | Lab 20
21 | [9 empty] | Lab 21 |  | Lab 21
22 | [9 empty] | Lab 22 |  | Lab 22
23 | [9 empty] | Lab 23 |  | Lab 23
24 | [9 empty] | Lab 24 |  | Lab 24
25 | [9 empty] | Lab 25 |  | Lab 25
26 | [9 empty] | Lab 26 |  | Lab 26
27 | [9 empty] | Lab 27 |  | Lab 27
28 | [9 empty] | Lab 28 |  | Lab 28
29 | [9 empty] | Lab 29 |  | Lab 29
30 | [9 empty] | Lab 30 |  | Lab 30
31 | [9 empty] | Lab 31 |  | Lab 31
32 | [9 empty] | Lab 32 |  | Lab 32
33 | [9 empty] | Lab 33 |  | Lab 33
34 | [9 empty] | Lab 34 |  | Lab 34
35 | [9 empty] | Lab 35 |  | Lab 35
36 | [9 empty] | Lab 36 |  | Lab 36
37 | [9 empty] | Lab 37 |  | Lab 37
38 | [9 empty] | Lab 38 |  | Lab 38
39 | [9 empty] | Lab 39 |  | Lab 39
40 | [9 empty] | Lab 40 |  | Lab 40
41 | [9 empty] | Lab 41 |  | Lab 41
42 | [9 empty] | Lab 42 |  | Lab 42
43 | [9 empty] | Lab 43 |  | Lab 43
44 | [9 empty] | Lab 44 |  | Lab 44
45 | [9 empty] | Lab 45 |  | Lab 45
46 | [9 empty] | Lab 46 |  | Lab 46
47 | [9 empty] | Lab 47 |  | Lab 47
48 | [9 empty] | Lab 48 |  | Lab 48
49 | [9 empty] | Lab 49 |  | Lab 49
50 | [9 empty] | Lab 50 |  | Lab 50

## Changes
2026-07-28 | Copyright 2008,2009,2010,2011,2013 by AOAC International, all rights reserved.
Licensed copyrighted materials included from Robert A. LaBudde, by permission.
CITATIONS: | 1. LaBudde, R.A. (2008). "Statistical analysis of interlaboratory studies. XX. Measuring the performance of a qualitative test method." TR290. Least Cost Formulations, Ltd., Virginia Beach, VA.
2. LaBudde, R.A. (2009). "Coverage accuracy for binomial proportion 95% confidence intervals for 12 to 100 replicates." TR297. Least Cost Formulations, Ltd., Virginia Beach, VA.
3. LaBudde, R.A. (2009). "Statistical analysis of interlaboratory studies. XXII. Statistical analysis of a qualitative multicollaborator study as a quantitative study under the large sample approximation." TR296. Least Cost Formulations, Ltd., Virginia Beach, VA.
AOAC Binary Data Interlaboratory Study Workbook |  | Version: | 2.3
created: | 11.11.08 by R.A. LaBudde, structure from AOAC Interlaboratory v. 1.6
changes: | 11.12.08 ral, add confidence intervals and expand replicates to 25
05.19.09 ral, v1.3 fix laboratory variance
06.08.09 ral, v.1.3, modified Wilson C.I., count data
06.17.09 ral, v.1.4, variance component C.I.s
06.18.09 ral, v.1.5, add ICC and CI.
06.30.09 ral, v.1.6, fix X^2 test P-value, fix d.f. for grand mean = 1 or 0, fix b.c.'s, delete and fix calcX2 sheet.
07.28.09 ral, v.1.7, widen ID field
08.23.09 ral, v.1.8, add caps to variance component UCLs.
08.24.09 ral, v.1.9, fix error in use of delta(r).
09.11.09 ral, v.2.0, change ICC(L) to ICC(r).
04.26.10 ral, v.2.1, harmonize formulas to TR296
2013.02.25, ral, v.2.3, fix comment about p-value on calculations sheet