## Method Evaluation Form
Evaluation of Method Performance vs. SMPR requirements.
AOAC SMPR: …………..
Method Reference # | [6 empty] | 1
Method title: | [6 empty] | 3
Principle of the method: | [6 empty] | 5
Parameter | SMPR Requirement |  | Method Performance Please report in units as stated in SMPR! | Weighting factor for parameter | Suitability Ranking (1-3-5) (select from drop-down list, 5 = best)
SPIFAN matrices |  | Applicable to all forms of infant, adult, and/or pediatric formula (powders, ready-to-feed liquids, and liquid concentrates). Any combination of milk, soy, rice, whey, hydrolyzed protein, starch, and amino acids, with and without intact protein. |  | 1 |  | 0
All analytes defined in the applicability statement are measured. |  |  |  | 1 |  | 0
Analytical Range. |  |  |  | 1 |  | 0
Limit of detection (LOD) | Analyte 1 |  |  | 1 |  | 0
Analyte 2
Analyte 3
Analyte 4
Analyte 5
Limit of quantification (LOQ) | Analyte 1 |  |  | 2 |  | 0
Analyte 2
Analyte 3
Analyte 4
| Analyte 5 | [6 empty] | 26
Accuracy/Recovery | Spike recovery (%) |  |  | 2 |  | 0
| Bias vs SRM |  |  | 3 |  | 0
Repeatability (RSDr) |  |  |  | 3 |  | 0
Intermediate Reproducibility (RSDiR) |  |  |  | 1 |  | 0
Reproducibility (RSDR) |  |  |  | 1 |  | 0
ADDITIONAL EVALUATION PARAMETERS | [7 empty] | Approved
Adequate proof of performance via system suitability | [5 empty] | 0 |  | Not approved
Feedback from Users of the Method since being awarded First Action Official Methods Status | [5 empty] | 0 |  | Approval pending (awaiting improvements)
Did Method Author Consider ERP’s Method Specific Recommendations (See web link to specific method comments): | [5 empty] | 0
Bias against established method |  | Is there a bias Yes/No ? |  |  |  | 0
Analytical equipment |  | Analytical equipment is commonly available in most labs. |  |  |  | 0
Proprietary equipment |  | No unique proprietary equipment/accessories are required. |  |  |  | 0
Laboratory safety |  | Method does not require any special safety precautions e.g. personal protection from highly toxic solvents. |  |  |  | 0
Other Considerations | [5 empty] | 0
Overall Score |  |  |  | 0
Decision by ERP
Recommendation of ERP 2 years after First Action Status |  | move to Final Action/repeal/remove/expand 2 year term
Notes:
a Concentrations apply to (1) "ready to feed liquids" "as-is"; (2) reconstituted powders (25 g into 200 g water); and (3) liquid concentrates diluted 1:1 by weight.
b Units

## Table 1_Spike recovery
Table 1 | Accuracy - Spike Recovery
Product | SPIFAN Code | Analyte | Nr. replicates (n) | Spike Recovery
|  |  |  | Native level | + Spike Level 1 |  | + Spike Level 2
[5 empty] | Avg (%) | RSD % | Avg (%) | RSD (%)
|  |  |  | Global Mean % | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Additional information to be completed by SD
Was a portion of the product spiked? | [6 empty] | yes
Were all spike recovery samples taken from the same spiked product? | [6 empty] | no
Were multiple portions of the product spiked and each spiked product analyzed? | [6 empty] | yes
Were products weighed into extraction vessels before spiking? | [6 empty] | yes
Were products spiked before they were weighed into extraction vessels? | [6 empty] | no
Were all spike recovery samples prepared on the same day? | [6 empty] | no
Were all spike recovery samples prepared on multiple days? | [6 empty] | yes
Were spike recoveries calculated from theoretical additions? | [6 empty] | yes
Or was spiking solution analyzed and the results used to calculate spike recoveries? | [6 empty] | no
What form of the nutrient was spiked into the product?
What kind of solution or solvent was used to deliver the spike to the product?
What percentage of the spiked sample was the spiked was the spike blanc? (How much was product diluted by spike?)
answer
yes
no

## Table 2_Reference material
Table 2 | Accuracy - Analytical bias compared to reference material
Certified Reference Material |  |  |  |  | Measured Results
CRM product | Analyte | Certified value | Uncertainty | Certified range | Concentration | Difference from certified value | Bias |  |  | Confidence interval
[7 empty] | Nominal | Tstat | p-value
Mean
SD
Tstat =
| where: | = mean of the differences between measured results and reference value
sd = standard deviation of the differences between results and reference value
n = number of replicate analyses of SRM
| H0: | = 0, The null hypothesis is that there is no difference between the measured results and the certified value:
| p-value: | is the probability (at the 95% levels of confidence) of obtaining the test statistic assuming that the null hypothesis is true.
p-value < 0.05 indicate a difference of statistical signifance between measured results and SRM.
| 95% confidence interval: | The true population of the measured value expected to fall within the confidence interval estimate 95% of the time.
|  | lower limit = mean - |  | upper limit = mean +
| where: | = critical values of the t-distribution
sd = standard deviation of the differences between results an reference value
n = number of replicate analyses of SRM

## Table 3_Repeatability
Table 3 | Precision - repeatability.
Product | SPIFAN Code | Analyte | Nr. replicates (n) | Conc. Level | RSDr | RSD iR | REQUIREMENTS SMPR | Conc. Level | RSDr | RSD iR
[8 empty] | X | ≤ Z % | ≤ W %
Analyte 1
Analyte 2
Analyte 3
Analyte 4
Analyte 5
Analyte 1
Analyte 2
Analyte 3
Analyte 4
Analyte 5
Analyte 1
Analyte 2
Analyte 3
Analyte 4
Analyte 5
Analyte 1
Analyte 2
Analyte 3
Analyte 4
Analyte 5
|  |  |  | Global Mean % | #DIV/0! | #DIV/0!

## Table 4_Reproducibility
Table 4 | Precision - reproducibility
Product | SPIFAN Code | Analyte | Nr. replicates (n) | Conc. Level | RSDR | REQUIREMENTS SMPR | Conc. Level | RSDR
[7 empty] | X | ≤ Z %
Analyte 1
Analyte 2
Analyte 3
Analyte 4
Analyte 5
Analyte 1
Analyte 2
Analyte 3
Analyte 4
Analyte 5
Analyte 1
Analyte 2
Analyte 3
Analyte 4
Analyte 5
Analyte 1
Analyte 2
Analyte 3
Analyte 4
Analyte 5
|  |  |  | Global Mean % | #DIV/0!