## OMA & PTM Introduction
AOAC OMA Introduction to Modification Guidance Table
The tables on the next tabs provides guidance on assessing data requirements for method modifications. They emphasize the harmonization efforts and scheme between the Performance Tested Methods program (PTM) and Official Methods of Analysis (OMA) program when dealing with method modification assessment. Method developers are encouraged to conduct a risk analysis when modifying methods, to propose a relevant protocol for discussion within the ERP. Additionally, study designs that differ from the AOAC Method Validation Guidelines or modification levels that differ from the modification guidance can be presented and discussed. The Performance Tested Method (PTM) certification offers a fast and industry-oriented method validation program, ideal for quickly assessing and bringing new methods to market. To reach these objectives in a timely manner, methods are reviewed by an AOAC Volunteer Expert (VE), subject matter expert appropriate to the method and expert in AOAC process (Vetted by the AOAC Official Methods Board), and two Expert Reviewers (ERs), subject matter experts recruited by the AOAC-RI and trained in the AOAC process. In-depth guidance facilitates the method evaluation process and ensures harmonization between studies. Modifications are assessed by the AOAC staff, in consultation with the Technical Consultants and AOAC VE appropriate to the method. The Expert Review Panel (ERP) of the Official Method Analysis Program gathers subject matter experts from diverse fields, including method developers, end-users from service laboratories and food producers, expert laboratories, and food safety authorities. The ERP structure enables in-depth reviews of validation study protocols, data, and reports, fostering a thorough discussion and consensus. This process ensures that all perspectives and expertise are considered, leading to a comprehensive and balanced evaluation of validation studies, with a focus on scientific rigor, challenges, and risk analysis.
AOAC PTM - Refer to the Modification Guidance Policy document for clarifications on protocol consultation and approval

## Study Designs
Study Designs
INSTRUCTIONS
1. Follow the design listed below unless otherwise noted on the Method Type tab(s)
2. Detailed study designs are discussed in AOAC training courses or through AOAC consultation
STUDY DESIGNS
Study | Level of Change | Study Design
Selectivity | Level 3/Major - Full Study | Perform the full single lab validation selectivity study (following current AOAC guidance). This includes inclusivity & exclusivity using the most challenging enrichment(s) for micro. This includes analytes, cross-reactors and potential interferents for chemistry.
| Level 2/Minor or Level 3/Major - Subset | Perform a subset of the full single lab validation study (minimum of 10 or 50% of required amount, whichever is greater). This includes inclusivity & exclusivity using the most challenging enrichment(s) for micro. This includes analytes, cross-reactors and potential interferents for chemistry. Subset must be chosen in collaboration with AOAC consultant and/or ERP.
Calibration Study | Level 2/Minor or Level 3/Major | Run standard or matrix across method analytical range to establish fitness of the regression model.
Matrix Study & if applicable Limit of Detection (LOD)/Limit of Quantification (LOQ) | Level 3/Major | For methods with a single matrix claim, test that matrix. For methods with a claim of 2 to 5 matrixes, test 2 matrixes. For methods with a claim of 6-10 matrixes, test 4 matrixes. For methods with a claim of 11-25 matrixes, test 5 matrixes. For >25 matrixes, test 6 matrixes. Must test diverse and challenging matrixes, matrixes will be chosen through AOAC and/or ERP consultation. At least 1 matrix must be tested for each category group (e.g. food, environmental sample or cannabis). If standards are matrix matched then additional matrixes may be required per standard based on subject matter expert input.
| Level 2/Minor | For methods with a claim of 1 to 5 matrixes, test 1 matrix. For methods with a claim of 6-10 matrixes, test 2 matrixes. For methods with a claim of 11-25 matrixes, test 3 matrixes. For >25 matrixes, test 4 matrixes. Must test diverse and challenging matrixes, matrixes will be chosen in collaboration with AOAC and/or ERP consultation. At least 1 matrix must be tested from each matrix group. If standards are matrix matched then additional matrixes may be required per standard based on subject matter expert input.
Independent laboratory study | Level 3 | Independent lab performs 1 matrix study for every 5 tested in the matrix study above. E.g. If a PTM approval claims 1-5 matrices, the independent lab tests 1 matrix. If a PTM approval claims 6-10 matrices, the independent lab tests 2 matrices, etc.
Collaborative study (OMA only) | Major | ERP will determine number of matrixes/materials required to be tested in collaborative study.
Product Stability | Level 2 or 3 | Perform accelerated or real-time stability testing, internal study designs are acceptable. Component studies may be used when a change poses risk for specific components of the method. If accelerated stability is submitted, real-time must be submitted at next annual renewal.
| Internal Info | Internal stability testing is expected by the licensee. For Non-ISO 9001 companies, changes to shelf life must be reported to AOAC. Any changes to instructions or literature would follow standard editorial level 1 modification process. Component studies may be used when a change poses risk for specific components of the method. In these cases, accelerated or real-time stability may be performed by aging the component at risk and running within the existing method. If the same change is made across multiple SKUs, the licensee may choose to test stability on representative SKUs from diverse technology platforms. The remaining affected SKUs may be verified through internal verification of product quality.
Lot-to-lot consistency | Level 2 or 3 | Real time stability and lot-to-lot consistency may be combined. Lot-to-lot consistency testing uses 3 lots of the new version of the method only. Testing of an old lot is optional.
| Internal Info | Internal lot-to-lot consistency data is expected by the licensee/method developer. If data falls within performance claims, retain data as part of quality program. If data from the new process falls outside of the performance claims and/or internal change control specifications, change must be reported to AOAC to determine the level of modification and testing required. If the same change is made across multiple SKUs, the licensee/method developer may choose to test lot-to-lot consistency on representative SKUs from diverse technology platforms (minimum 1 per platform). The remaining affected SKUs may be verified through internal verification of product quality. Any changes to instructions or literature would follow standard level 1/editorial modification process.
Robustness | Level 2 or 3 | Perform robustness testing on 1 matrix.
Instrument Variation Study | Level 2 or 3 | Perform instrument variation study on 1 matrix.
Verification of product quality | Internal Info | Internal verification of product quality is expected by the licensee/method developer. If data from the new process does not meet standard quality release critera and/or internal change control specifications, change must be reported to AOAC to determine the level of modification and testing required. Any changes to instructions or literature would follow standard level 1/editorial modification process.

## Method Type - Immunodiagnostics
Immunodiagnostic Modifications | [6 empty] | Approved by OMB June 12, 2025
Including, but not limited to: lateral flow, ELISA
Guidance Detail - Immunodiagnostics
Category | Component | Type of change | Level of Change |  |  |  | Performance Tested Method Study Design - Testing Requirements on Separate Tab Note: If data falls outside of performance claims (within method developer’s tolerance), change must be reported to AOAC to determine the level of modification and testing required.
|  |  | Level 3 | Level 2 | Level 1 | Internal Info
Assay Reagents | Critical - The basis of the method (e.g. antibody, calibrant, gold colloid, antigen conjugate in competitive assays) | Modification of antibodies, calibrant or gold colloid: 1. Polyclonal antibody - new animal species 2. Monoclonal antibody - replacement or addition or new clone 3. Modification to conjugation chemistry for the primary antibody (e.g. antibody-HRP conjugations) or primary antigen conjugation in competitive ELISAs 4. Gold colloid - changing the size or shape 5. Calibrant (what the kit is balanced to during the manufacturing process, such as standards in ELISA)- changing the material or the nature of the material (e.g. peanut butter to peanut flour or Aflatoxin standard in Acetonitrile to Mycotoxin Reference Material) | X |  |  |  | 1. Selectivity - full study 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Product stability 5. Lot-to-lot consistency 6. Independent laboratory study
|  | 1. Modification of critical reagent production process (e.g. new column supplier, new media for hybridomas, polishing antibodies, etc.) in which performance claims are changed 2. New vendor for critical material in which performance claims are changed. | X |  |  |  | 1. Selectivity - full 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Product stability 5. Lot-to-lot consistency 6. Independent laboratory study
|  | Calibrant - changing from a reference material/standard to non-reference material/standard (e.g. certified reference material to store-bought material) or vice vera. This assumes the calibrant material is the same. |  | X |  |  | 1. Calibration study if applicable 2. Matrix study & LOD/LOQ if applicable 3. Product stability
|  | Modification of an existing antibody without modification of the recognition site (binding site). Change in animal for polyclonal antibody (same species). |  | X |  |  | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Product stability
|  | Change in the concentration of antibody or change in gold colloidal reducing agent. This does not include concentration adjustments needed to meet established product quality specifications as part of standard manufacturing process. |  | X |  |  | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Product stability
|  | Change in reaction pH @ antibody/antigen step (pH change > 0.5). NOTE: major changes in pH (pH change > 3.0) would be a level 3 modification |  | X |  |  | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable
|  | Change in reaction volume @ antibody/antigen step (identical concentration) |  | X |  |  | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable
|  | New vendor for critical material (no change to the material itself) without changes to performance claims |  | X (Non-ISO 9001) |  | X (ISO 9001) | Non-ISO 9001 certified manufacturing facilities: 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Lot-to-lot consistency ISO 9001 certified facilities: 1. Lot-to-lot consistency 2. Selectivity - subset
|  | Modification of critical reagent production process (e.g. new column supplier, new media for hybridomas, polishing antibodies, etc.) without changes to performance claims |  |  | X (Non-ISO 9001) | X (ISO 9001) | 1. Lot to lot consistency
|  | Polyclonal antibody - new bleeds from same animal(s) |  |  |  | X | 1. Lot-to-lot consistency
| Active - Not critical, but involved directly in the reaction (e.g. color change reagents, peroxidase, conjugate, etc.) | Replacement, addition, removal or change in concentration of active ingredient (e.g. new active ingredient to cause color change during substrate reaction). This does not include concentration adjustments needed to meet established product quality specifications as part of standard manufacturing process. |  | X |  |  | 1. Matrix study & LOD/LOQ if applicable 2. Product or component stability 3. Lot-to-lot consistency
|  | Modification of conjugation chemistry (e.g. secondary antibody conjugations) |  | X |  |  | 1. Matrix study & LOD/LOQ if applicable 2. Product or component stability 3. Lot-to-lot consistency
|  | Modification of active reagent production process (e.g. batch size, rate, coating time, drying, homogenization, etc.) without changes to performance claims |  |  |  | X | 1. Internal verification of product quality
|  | New vendor for active ingredient (no change to the material itself) without changes to performance claims |  |  |  | X | 1. Lot-to-lot consistency OR This option is only for small molecules that are <1000 Daltons (e.g. peroxide or indicator dye used in substrate) 1. Internal verification of product quality 2. Analytical confirmation (e.g. NMR, FTIR, LCMS) that the new vendor product matches the purity and is the same compound as previously used.
| Supporting - Not involved in the method reaction (buffers, pH adjustors, preservatives, etc.) | Replacement, addition, removal or change in concentration of supporting ingredient (e.g. different preservative, salt, or phosphate buffer). This does not include concentration adjustments needed to meet established product quality specifications as part of standard manufacturing process. |  |  | X (Non-ISO 9001) | X (ISO 9001) | Non-ISO 9001 certified manufacturing facilities: lot-to-lot consistency data - 3 lots of new + 1 lot of old tested with 1 matrix across analytical range. ISO 9001 certified facilities: Internal lot-to-lot consistency and component stability data is expected.
|  | New vendor for supporting ingredient (no change to the material itself) |  |  |  | X | 1. Internal verification of product quality
Other Physical Materials | Antibody support and capture mediums (microplates, cones, latex, membranes, etc.) | Modification of the capture medium material composition (e.g. changing from plastic to latex, changing composition of plastics) | X |  |  |  | 1. Selectivity - full study 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Product stability 5. Lot-to-lot consistency 6. Independent laboratory study
|  | Modification of the capture medium material composition with the same intended properties or modification of the capture medium (e.g. lateral flow membrane or microwell) size or shape. |  | X |  | X | Discuss with your AOAC consultant to determine whether the change is a level 2 or internal information. Level 2: 1. Matrix study & LOD/LOQ if applicable 2. Robustness Internal Info: 1. Lot to lot consistency
| Other Physical Materials | New vendor for capture medium (e.g. lateral flow membrane or microwell) |  |  |  | X | 1. Lot to lot consistency
|  | Modification to the containers used to house kit components (e.g. lateral flow cassette, barrettes, plastic to glass) |  |  |  | X | 1. Lot to lot consistency
|  | Modification to single-use kit components that do not house kit components (e.g. test tubes, mixing tubes, single-use pipettes) |  |  |  | X | 1. Internal verification of product quality
|  | New vendor for container material (e.g. lateral flow cassette, barrettes) |  |  |  | X | 1. Internal verification of product quality
|  | Interior packaging changes that could affect shelf life (e.g. sealed foil or polyethlene pouches) |  |  |  | X | 1. Internal verification of product quality 2. Internal stability
Instrumentation | Hardware - e.g. lateral flow or plate reader, automation | Physical modifications to the existing hardware with impact on data acquisition or interpretation (e.g. upgraded camera or thermal block) |  | X |  |  | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable
|  | 1. Add new instrument for automated processing (automation) 2. Add new or upgraded instrument (e.g. new reader, hardware used for heating steps) 3. Adding visual interpretation End users can also work within regulatory frameworks to add automation to method steps. |  | X |  |  | 1. Selectivity - subset 2. Matrix study & LOD/LOQ if applicable 3. Instrument variation study - only required for new proprietary instruments
|  | 1. Physical modifications to the hardware with no impact on data acquisition or interpretation (e.g. upgrading to a touch screen). 2. Adding secondary instruments with same intended use as primary option (e.g. heat block, 650 nm microplate reader). |  |  |  | X | 1. Internal verification of product quality
| Firmware (programed into the hardware) or Software (programed into the computer/processing for analysis) | Modifications to the firmware/software with impact on performance claims (cut-off, regression model, calibration curve optimizations where performance claims are changed) | X |  |  |  | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Independent laboratory study
|  | Modifications to the firmware/software with impact on data acquisition but no impact on performance claims (e.g. new algorithm model, replace obsolete drivers) |  | X |  |  | 1. Selectivity - subset 2. Matrix study & LOD/LOQ if applicable *Can re-run data from previous validation study if available
|  | Modifications to the firmware/software without impact on the claims (traceability, installation, bug fixes, minor calibration curve optimizations where performance claims are still met within AOAC specifications) |  |  |  | X | 1. Internal verification of product quality *Firmware/software quality testing can be used to meet this requirement
Method Workflow | Enrichment media for microbiology methods NOTE: Minor adjustments are permissible as needed to meet established quality specifications as part of standard manufacturing process and in accordance to ISO 11133 | 1. Substitution of primary enrichment media. 2. Replacement, addition, removal, or concentration change in a critical component. In enrichment media, critical components define the outcome of the formulation by way of selectivity to the end result (e.g. antibiotic, selective agent) 3. Add or remove an enrichment step | X |  |  |  | 1. Selectivity - Perform full inclusivity + 10 exclusive organisms (for blind coding). Subset must be chosen in collaboration with AOAC consultant. In some cases selectivity may not be required, this must be determined in consultation with AOAC. 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Robustness - may be required depending on the change and robustness parameters tested in the original study 5. Independent laboratory study
|  | Replacement, addition, removal, or concentration change of an active component with impact on performance claims. In enrichment media, active components are used in the formula with a wide range of function and specificity (e.g. peptone). | X |  |  |  | 1. Selectivity - Perform full inclusivity + 10 exclusive organisms (for blind coding). Subset must be chosen in collaboration with AOAC consultant. 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Robustness - may be required depending on the change and robustness parameters tested in the original study 5. Independent laboratory study
|  | Replacement, addition, removal, or concentration change of an active component without impact on performance claims. In enrichment media, active components are used in the formula with a wide range of function and specificity. |  | X |  |  | 1. Selectivity - Perform full inclusivity + 10 exclusive organisms (for blind coding). Subset must be chosen in collaboration with AOAC consultant. 2. Matrix study & LOD/LOQ if applicable
|  | Replacement, addition, removal or change in concentration of proprietary media supporting ingredient without impact on performance claims. In enrichment media, supporting ingredients are not responsible for growth or inhibition (e.g. buffers, pH adjustors, preservatives, inert components, etc.). |  |  |  | X | 1. Internal selectivity 2. Lot to lot consistency
| Extraction/lysis for chemistry methods or microbiology methods | Adding an additional extraction procedure or lysis reagents/protocol. | X |  |  |  | 1. Selectivity - Perform full inclusivity + 10 exclusive organisms (for blind coding). Subset must be chosen in collaboration with AOAC consultant. 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Robustness - may be required depending on the change and robustness parameters tested in the original study 5. Independent laboratory study
|  | Change to the concentration (for non-titrated reagents) or activity level (for titrated reagents) of the current extraction solution critical or active ingredient (e.g. reagent responsible for cell lysis, chemical responsible for extracting analyte). Critical Ingredient: The basis of the extraction of lysis Active Ingredient: Non-critical but involved directly in the reaction |  | X |  |  | 1. Selectivity 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable
|  | Replacement, addition or change in extraction/dilution solution supporting ingredient without impact on performance claims. Supporting Ingredient: Not involved in the method reaction (e.g. buffers, pH adjustors, preservatives, inert components, etc.) |  |  |  | X | 1. Internal selectivity 2. Lot to lot consistency
| Vendor change to enrichment/extraction reagents | New vendor for critical material (no change to the material itself) with no impact on performance claims. Critical Ingredient: The basis of the extraction of lysis |  | X (Non-ISO 9001) |  | X (ISO 9001) | Non-ISO 9001 certified manufacturing facilities: 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Lot-to-lot consistency ISO 9001 certified facilities: 1. Internal lot-to-lot consistency 2. Selectivity - subset
|  | New vendor of an active ingredient in a proprietary media or extraction/dilution solution with no impact on performance claims. Active Ingredient: Non-critical but involved directly in the reaction |  |  |  | X | 1. Lot to lot consistency
|  | New vendor of a supporting ingredient in a proprietary media or extraction/dilution solution Supporting Ingredient: Not involved in the method reaction (e.g. buffers, pH adjustors, preservatives, inert components, etc.) |  |  |  | X | 1. Internal verification of product quality
| Time or temperature changes | 1. Shortening enrichment, extraction, incubation and/or lysis time 2. Temperature changes during enrichment, extraction, lysis, and/or incubation where the existing range does not overlap with the new range (e.g. 30 ± 2°C to 37 ± 2°C) | X |  |  |  | 1. Selectivity 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Independent laboratory study
|  | 1. Lengthening enrichment, extraction, lysis, or incubation time 2. Temperature changes during enrichment, extraction, lysis, or incubation where the existing range does partially overlap with the new range (e.g. 30 ± 2°C to 34 ± 2°C ) |  | X |  |  | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable
| Dilution Ratio and Test Portion Size | Microbiology methods: Change in test portion to media ratio or increase in test portion size with the same dilution ratio. |  | X |  |  | 1. Matrix study - Test all matrixes affected by new procedure
|  | Chemistry methods: Change in test portion to extraction solution dilution ratio or change in test portion size with the same test portion to extraction solution ratio. |  | X |  |  | 1. Matrix study & LOD/LOQ if applicable - Test all matrixes affected by new procedure.
|  | Microbiology methods: Decrease in test portion size at the same media dilution ratio (assuming the test portion size does not go smaller than the reference method portion size). |  |  | X |  | No data required. Any changes to instructions or literature would follow standard editorial level 1 modification process.
| Other changes to method steps | 1. Add change to sample processing (e.g. DNA removal step) 2. Add a subculture enrichment |  | X |  |  | 1. Calibration study if applicable 2. Matrix study & LOD/LOQ if applicable
Production site and equipment | Production site and equipment | Adding a new production site with new equipment |  |  | X (Non-ISO 9001) | X (ISO 9001) | Non-ISO 9001 certified manufacturing facilities: lot-to-lot consistency data - 3 lots of new + 1 lot of old tested with 1 matrix across analytical range. ISO 9001 certified facilities: Internal lot-to-lot consistency data is expected.
|  | Moving existing equipment to a new production site (new address) |  |  |  | X | 1. Internal verification of product quality
|  | New equipment at same production site |  |  |  | X | 1. Internal verification of product quality
Matrix claims | Extensions with existing methods | Adding a new matrix group to claims. Matrix groups may include: environmental sample, food, or cannabis. | X |  |  |  | 1. Calibration study if applicable (e.g. matrix matched standards) 2. Matrix study & LOD/LOQ if applicable - Test all matrixes that will be added to the claim. 3. Independent laboratory study - 1 matrix study for every 5 tested in the matrix study above.
|  | Adding a new matrix that exceeds the requirement of an independent laboratory performing 1 matrix study for every 5 claimed (within same matrix group) | X |  |  |  | 1. Calibration study if applicable (e.g. matrix matched standards) 2. Matrix study & LOD/LOQ if applicable - Test all matrixes that will be added to the claim. 3. Independent laboratory study - 1 matrix study for every 5 tested in the matrix study above.
|  | Adding a new matrix that does not exceed the requirement of an independent laboratory performing 1 matrix study for every 5 claimed |  | X |  |  | 1. Calibration study if applicable (e.g. matrix matched standards) 2. Matrix study & LOD/LOQ if applicable- Test all matrixes that will be added to the claim.
| Extensions with new methods | Adding a new matrix combined with a new enrichment or change to enrichment procedure. Adding a new matrix with a new extraction or change to the extraction procedure. | X | X |  |  | Follow guidelines above in 'method workflow' section and 'matrix claim-extensions with existing methods' section. Perform all relevant test requirements.
| Matrix Removal | Removing a matrix from the performance claims |  |  | X |  | Any changes to instructions or literature would follow standard editorial level 1 modification process. See editorial changes to document section. If a matrix is removed due to poor performance, the limitation must be placed in the IFU.
Changes to Quality Control | Changes to QC procedure | Changes to QC lot-release procedure with no changes to performance claims |  |  | X (Non-ISO 9001) | X (ISO 9001) | Non-ISO certified 9001 manufacturing facilities: At annual renewal, send updated QA/QC summary procedure. An AOAC consultant will determine whether data must be submitted. ISO 9001 certified manufacturing facilities: Follow appropriate ISO 9001 steps for changes in QC procedures. AOAC should always have your updated ISO 9001 certificate. Submit updated ISO 9001 certificate at annual renewals.
Shelf life extension | Shelf life extension | Shelf life extension |  |  | X (Non-ISO 9001) | X (ISO 9001) | Non-ISO 9001 certified manufacturing facilities: At annual renewal, submit shelf life extension data to AOAC. ISO 9001 certified manufacturing facilities: Follow appropriate ISO 9001 steps for changes in shelf life. AOAC should always have your updated ISO 9001 certificate. Submit updated ISO 9001 certificate at annual renewals.
Editorial changes | Editorial changes to documents (IFU, labels, packaging, etc.) with AOAC PTM mark | Editorial change with immediate certificate/method update needed (e.g. re-branding) |  |  | X |  | Level 1 modification must be done before or at time of new document release. A level 1 modification fee will be charged.
|  | Editorial change with either no certificate updates needed or delayed certificate updates needed |  |  | X |  | Level 1 modification can be submitted with annual renewal. Only the annual renewal fee will be charged.
Method modifications that are not covered by any other section of this document. |  |  | X | X | X | X | Discuss with AOAC Research Institute staff or consultant to determine level of change.

## Method Type - Molecular
Molecular Modifications - Screening & Confirmation Methods | [6 empty] | APPROVED by OMB June 12, 2025
Including, but not limited to: Isothermal PCR, ddPCR, qPCR, PCR, NGS
Guidance Detail - Molecular Methods for Screening & Confirmation
Category | Component | Type of change | Level of Change |  |  |  | Performance Tested Method Study Design - Testing Requirements on Separate Tab Note: If data falls outside of performance claims (within method developer’s tolerance), change must be reported to AOAC to determine the level of modification and testing required. | OMA Study Design - Testing Requirements on Separate Tab Note: If data falls outside of performance claims (within method developer’s tolerance), change must be reported to AOAC to determine the level of modification and testing required.
|  |  | RI - Level 3 OMA - Major | RI - Level 2 OMA - Minor | RI - Level 1 OMA - Editorial | Internal Info
Assay Reagents | Critical - The basis of the method (e.g. primers, probes, polymerase) | Modification of Critical Components: 1. Adding/removing the primers and/or probe 2. Changing the sequences of the primers and/or probe 3. New polymerase type 4. Change to probe chemistry 5. Change in concentration of critical component with intent to change kit performance claims 6. Adding a target analyte to an existing performance claim | X |  |  |  | 1. Selectivity - full study 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Product stability 5. Lot-to-lot consistency 6. Independent laboratory study | 1. Selectivity - full study 2. Calibration study if applicable 3. Matrix Study & LOD/LOQ if applicable 4. Consult with ERP: Independent laboratory or Collaborative study
|  | 1. Modification of critical reagent production process (e.g. purification method of primers) in which performance claims are changed. 2. New vendor for critical material in which performance claims are changed. | X |  |  |  | 1. Selectivity - full 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Product stability 5. Lot-to-lot consistency 6. Independent laboratory study | 1. Selectivity - full 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Consult with ERP: Independent laboratory or Collaborative study
|  | Modification of Critical Components: 1. Critical components changing form, such as liquid to lyophilized or vice versa 2. Combining or separating critical components. 3. Change in volume of critical component. 4. Change in the concentration of critical components that do not affect performance claims. This does not include concentration adjustments needed to meet established product quality specifications as part of standard manufacturing process. 5. Removing a target analyte from an existing performance claim |  | X |  |  | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Component stability 5. Lot-to-lot consistency, if applicable | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable
|  | New vendor for critical material (no change to material itself) without changes to performance claims |  | X (Non-ISO 9001) |  | X (ISO 9001) | Non-ISO 9001 certified manufacturing facilities: 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Lot-to-lot consistency ISO 9001 certified facilities: 1. Selectivity - subset 2. Lot-to-lot consistency | 1. Lot-to-lot consistency
|  | Modification of critical reagent production process (e.g. purification method of primers) without changes to performance claims |  |  | X (Non-ISO 9001) | X (ISO 9001) | ISO 9001 certified facilities: 1. Lot-to-lot consistency | 1. Lot-to-lot consistency
| Active - Not critical, but involved directly in the reaction (e.g. lysis buffer, enzyme, detergent, inhibitor, non-viable molecular reagents/removers) | Replacement, addition or change in concentration of active ingredient. This does not include concentration adjustments needed to meet established product quality specifications as part of standard manufacturing process. |  | X |  |  | 1. Selectivity - subset 2. Matrix study & LOD/LOQ if applicable 3. Product or component stability | 1. Selectivity - subset 2. Matrix study & LOD/LOQ if applicable
|  | Modification of active reagent production process (e.g. batch size, rate, homogenization, etc.) without changes to performance claims |  |  |  | X | 1. Verification of product quality | 1. Verification of product quality
|  | New vendor for active ingredient (no change to the material itself) without changes to performance claims |  |  |  | X | 1. Lot-to-lot consistency OR This option is only for small molecules that are <1000 Daltons (e.g. peroxide or dyes) 1. Internal verification of product quality 2. Analtyical confirmation (e.g. NMR, FTIR, LCMS) that the new vendor product matches the purity and is the same compound as previously used. | 1. Lot-to-lot consistency OR This option is only for small molecules that are <1000 Daltons (e.g. peroxide or dyes) 1. Internal verification of product quality 2. Analtyical confirmation (e.g. NMR, FTIR, LCMS) that the new vendor product matches the purity and is the same compound as previously used.
| Supporting - Not involved in the method reaction (buffers, pH adjustors, preservatives, etc.) | Replacement, addition or change in concentration of supporting ingredient (ex. new preservative, salt, or phosphate buffer). This does not include concentration adjustments needed to meet established product quality specifications as part of standard manufacturing process. |  |  | X (Non-ISO 9001) | X (ISO 9001) | Non-ISO 9001 certified manufacturing facilities: 1. Component stability 2. Lot-to-lot consistency ISO 9001 certified facilities: 1. Lot-to-lot consistency | 1. Component stability 2. Lot-to-lot consistency
|  | New vendor for supporting ingredient (no change to the material itself) without changes to performance claims |  |  |  | X | 1. Verification of product quality | 1. Verification of product quality
Other Physical Materials | Other Physical Materials | Modification to the containers used to house kit components (e.g. reagent bottles, tubes holding lyophilized reagents, foil/polyethelene pouches) |  |  |  | X | 1. Lot-to-lot consistency | 1. Lot-to-lot consistency
|  | Modification to single-use kit components that do not house kit components (e.g. tubes and caps, mixing tubes, microtiter plates, single-use pipettes) |  |  |  | X | 1. Verification of product quality | 1. Verification of product quality
|  | New vendor for container material or single-use kit components (e.g. mixing tubes, reagent bottles, etc.) |  |  |  | X | 1. Verification of product quality | 1. Verification of product quality
|  | Interior packaging changes that could affect shelf life (e.g. sealed foil or polyethlene pouches) |  |  |  | X | 1. Internal verification of product quality 2. Internal stability | 1. Internal verification of product quality 2. Internal stability
Instrumentation | Hardware - e.g. molecular instrument/system, reader, automation | Physical modifications to the existing hardware with impact on data acquisition (e.g. upgraded camera) |  | X |  |  | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable | 1. Selectivity - subset 2. Matrix study & LOD/LOQ if applicable
|  | 1. Add new instrument for automated processing (automation) 2. Add new or upgraded instrument (e.g. new reader, thermal block, new thermocycler) 3. Adding visual interpretation End users can also work within regulatory frameworks to add automation to method steps. |  | X |  |  | 1. Selectivity - subset 2. Matrix study & LOD/LOQ if applicable 3. Instrument variation study - only required for new proprietary instruments | 1. Selectivity - subset 2. Matrix study & LOD/LOQ if applicable
|  | Physical modifications to the hardware with no impact on data acquisition (e.g. upgrading to a touch screen) |  |  |  | X | 1. Verification of product quality | 1. Verification of product quality
| Firmware (programed into the hardware) or Software (programed into the computer/processing for analysis) | Modifications to the firmware/software with impact on performance claims (e.g. cut-off, regression model, calibration curve optimizations) | X |  |  |  | 1. Selectivity 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Independent laboratory study | 1. Selectivity 2. Matrix study & LOD/LOQ if applicable 3. Consult with ERP: Independent laboratory or Collaborative study
|  | Modifications to the firmware/software with impact on data acquisition but no impact on performance claims (e.g. new algorithm model, replace obsolete drivers) |  | X |  |  | 1. Selectivity - subset 2. Matrix study & LOD/LOQ if applicable *Can re-run data from previous validation study if available | 1. Selectivity - subset 2. Matrix study & LOD/LOQ if applicable *Can re-run data from previous validation study if available
|  | Modifications to the firmware/software without impact on data acquisition or performance claims (e.g. traceability, installation, bug fixes, minor calibration curve optimizations where performance claims are still met within AOAC specifications) |  |  |  | X | 1. Internal verification of product quality *Firmware/software quality testing can be used to meet this requirement | 1. Internal verification of product quality *Firmware/software quality testing can be used to meet this requirement
Method Workflow | Enrichment media for microbiology methods NOTE: Minor adjustments are permissible as needed to meet established quality specifications as part of standard manufacturing process and in accordance to ISO 11133 | 1. Substitution of primary enrichment media. 2. Replacement, addition, removal, or concentration change in a critical component. In enrichment media, critical components define the outcome of the formulation by way of selectivity to the end result (e.g. antibiotic, selective agent) 3. Add or remove an enrichment step | X |  |  |  | 1. Selectivity - Perform full inclusivity + 10 exclusive organisms (for blind coding). Subset must be chosen in collaboration with AOAC consultant. In some cases selectivity may not be required, this must be determined in consultation with AOAC. 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Robustness - may be required depending on the change and robustness parameters tested in the original study 5. Independent laboratory study | 1. Selectivity - Perform full inclusivity + 10 exclusive organisms (for blind coding). Subset must be chosen in collaboration with AOAC consultant. In some cases selectivity may not be required, this must be determined in consultation with AOAC. 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable
|  | Replacement, addition, removal or concentration change of an active component with impact on performance claims. In enrichment media, active components are used in the formula with a wide range of function and specificity (e.g. peptone). | X |  |  |  | 1. Selectivity - Perform full inclusivity + 10 exclusive organisms (for blind coding). Subset must be chosen in collaboration with AOAC consultant. In some cases selectivity may not be required, this must be determined in consultation with AOAC. 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Robustness - may be required depending on the change and robustness parameters tested in the original study 5. Independent laboratory study | 1. Selectivity - Perform full inclusivity + 10 exclusive organisms (for blind coding). Subset must be chosen in collaboration with AOAC consultant. In some cases selectivity may not be required, this must be determined in consultation with AOAC. 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable
|  | Replacement, addition, removal or concentration change of an active component without impact on performance claims. In enrichment media, active components are used in the formula with a wide range of function and specificity. |  | X |  |  | 1. Selectivity - Perform full inclusivity + 10 exclusive organisms (for blind coding). Subset must be chosen in collaboration with AOAC consultant. 2. Matrix study & LOD/LOQ if applicable | 1. Selectivity - Perform full inclusivity + 10 exclusive organisms (for blind coding). Subset must be chosen in collaboration with AOAC consultant. 2. Matrix study & LOD/LOQ if applicable
|  | Replacement, addition, removal, or change in concentration of proprietary media supporting ingredient without impact on performance claims. In enrichment media, supporting ingredients are not responsible for growth or inhibition (e.g. buffers, pH adjustors, preservatives, inert components, etc.). |  |  |  | X | 1. Selectivity - subset 2. Lot-to-lot consistency | 1. Selectivity - subset 2. Lot-to-lot consistency
| Extraction/lysis for chemistry methods or microbiology methods | Adding an additional extraction procedure, or lysis reagents/protocol | X |  |  |  | 1. Selectivity - Perform full inclusivity + 10 exclusive organisms (for blind coding). Subset must be chosen in collaboration with AOAC consultant. 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Robustness - may be required depending on the change and robustness parameters tested in the original study 5. Independent laboratory study | 1. Selectivity - Perform full inclusivity + 10 exclusive organisms (for blind coding). Subset must be chosen in collaboration with AOAC consultant. 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable
|  | Change to the concentration (for non-titrated reagents) or activity level (for titrated reagents) of the current extraction solution critical or active ingredient (e.g. reagent responsible for cell lysis, chemical responsible for extracting analyte). |  | X |  |  | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable | 1. Selectivity - subset 2. Matrix study & LOD/LOQ if applicable
|  | Replacement, addition or change in extraction solution supporting ingredient without impact on performance claims. Supporting Ingredient: Not involved in the method reaction (e.g. buffers, pH adjustors, preservatives, inert components, etc.) |  |  |  | X | 1. Selectivity - subset 2. Lot-to-lot consistency | 1. Selectivity - subset 2. Lot-to-lot consistency
| Vendor change to components for enrichment or extraction/lysis reagents | New vendor for critical material (no change to the material itself) with no impact on performance claims. |  | X (Non-ISO 9001) |  | X (ISO 9001) | Non-ISO 9001 certified manufacturing facilities: 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Lot-to-lot consistency ISO 9001 certified facilities: 1. Selectivity - subset 2. Lot-to-lot consistency | 1. Selectivity - subset 3. Matrix study & LOD/LOQ if applicable 4. Lot-to-lot consistency
|  | New vendor of an active ingredient in a proprietary media or extraction lysis solution with no impact on performance claims. |  |  |  | X | 1. Lot-to-lot consistency | 1. Lot-to-lot consistency
|  | New vendor of a supporting ingredient in a proprietary media or extraction lysis solution with no impact on performance claims. |  |  |  | X | 1. Verification of product quality | 1. Verification of product quality
| Time or temperature changes | 1. Shortening enrichment, extraction, incubation and/or lysis time. 2. Temperature change(s) during enrichment, extraction, lysis, or incubation where the existing range does not overlap with the new range (e.g. 30 ± 2°C to 37 ± 2°C) | X |  |  |  | 1. Selectivity 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Independent laboratory study | 1. Selectivity 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Consult with ERP: Independent laboratory or Collaborative study
|  | 1. Lengthening enrichment, extraction, incubation and/or lysis time 2. Temperature change(s) during enrichment, extraction, lysis, or incubation where the existing range partially overlaps with the new range (e.g. 30 ± 2°C to 34 ± 2°C ) |  | X |  |  | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable
| Dilution Ratio and Test Portion Size | Microbiology methods: Change in ratio for test portion to media volume or increase in test portion size at the same media dilution ratio. |  | X |  |  | 1. Matrix study - Test all matrixes affected by new procedure | 1. Matrix study - Test all matrixes affected by new procedure
|  | Microbiology methods: Decrease in test portion size at the same test portion to media ratio (assuming the test portion size does not go smaller than the reference method portion size). |  |  | X |  | No data required. Any changes to instructions or literature would follow standard editorial level 1 modification process. | No data required. Any changes to instructions or literature would follow standard editorial level 1 modification process.
| Other changes to method steps | 1. Add change to sample processing (e.g. DNA removal step) 2. Add a subculture enrichment |  | X |  |  | 1. Calibration study if applicable 2. Matrix study & LOD/LOQ if applicable | 1. Calibration study if applicable 2. Matrix study & LOD/LOQ if applicable
Production site and equipment | Production site and equipment | Adding a new production site with new equipment |  |  | X (Non-ISO 9001) | X (ISO 9001) | Non-ISO 9001 certified manufacturing facilities: lot-to-lot consistency data - 3 lots of new + 1 lot of old tested with 1 matrix across analytical range. ISO 9001 certified facilities: Internal lot-to-lot consistency data is expected. | 1. Lot-to-lot consistency
|  | Moving existing equipment to a new production site (new address) |  |  |  | X | 1. Verification of product quality | 1. Verification of product quality
|  | New equipment at same production site |  |  |  | X | 1. Verification of product quality | 1. Verification of product quality
Matrix claims | Extensions with existing methods | Adding a new matrix group to claims. Matrix groups may include: environmental sample, food, or cannabis. | X |  |  |  | 1. Calibration study if applicable (ex. matrix matched standards) 2. Matrix study & LOD/LOQ if applicable - Test all matrixes that will be added to the claim. 3. Independent laboratory study - 1 matrix study for every 5 tested in the matrix study above. | 1. Calibration study if applicable (ex. matrix matched standards) 2. Matrix study & LOD/LOQ if applicable - Test all matrixes that will be added to the claim. 3. Consult with ERP: Independent laboratory or Collaborative study
|  | Adding a new matrix that exceeds the requirement of an independent laboratory performing 1 matrix study for every 5 matrix claimed (within same matrix group) | X |  |  |  | 1. Calibration study if applicable (ex. matrix matched standards) 2. Matrix study & LOD/LOQ if applicable - Test all matrixes that will be added to the claim. 3. Independent laboratory study - 1 matrix study for every 5 tested in the matrix study above. | 1. Calibration study if applicable (ex. matrix matched standards) 2. Matrix study & LOD/LOQ if applicable - Test all matrixes that will be added to the claim.
|  | Adding a new matrix that does not exceed the requirement of an independent laboratory performing 1 matrix study for every 5 matrix claimed |  | X |  |  | 1. Calibration study if applicable (ex. matrix matched standards) 2. Matrix study & LOD/LOQ if applicable- Test all matrixes that will be added to the claim. | 1. Calibration study if applicable (ex. matrix matched standards) 2. Matrix study & LOD/LOQ if applicable- Test all matrixes that will be added to the claim.
| Matrix Removal | Removing a matrix from the performance claims |  |  | X |  | Any changes to instructions or literature would follow standard editorial level 1 modification process. See editorial changes to document section. If a matrix is removed due to poor performance, the limitation must be placed in the IFU. | Any changes to instructions or literature would follow standard editorial modification process for OMA. See editorial changes to document section. If a matrix is removed due to poor performance, the limitation must be placed in the IFU.
Changes to Quality Control | Changes to QC procedure | Changes to QC lot-release procedure with no change to performance claims |  |  | X (Non-ISO 9001) | X (ISO 9001) | Non-ISO 9001 certified manufacturing facilities: At annual renewal, send updated QA/QC summary procedure. ISO 9001 certified facilities: Follow appropriate ISO 9001 steps for changes in QC procedures. AOAC should always have your updated ISO 9001 certificate. Submit updated ISO 9001 certificate at annual renewals. | Follow appropriate quality management system steps for changes in QC procedures.
Shelf life extension | Shelf life extension | Shelf life extension |  |  | X (Non-ISO 9001) | X (ISO 9001) | Non-ISO 9001 certified manufacturing facilities: At annual renewal, submit shelf life extension data to AOAC. ISO 9001 certified manufacturing facilities: Follow appropriate ISO 9001 steps for changes in shelf life. AOAC should always have your updated ISO 9001 certificate. Submit updated ISO 9001 certificate at annual renewals. | Follow appropriate quality management system steps for changes in product shelf life.
Editorial changes | Editorial changes to documents (IFU, labels, packaging, etc.) with AOAC PTM mark OR editorial changes to OMA method | Editorial change with immediate certificate/method update needed (e.g. re-branding) |  |  | X |  | Level 1 modification must be done before or at time of new document release. A level 1 modification fee will be charged. | Discuss with AOAC
|  | PTM only - Editorial change with either no certificate updates needed or delayed certificate updates needed |  |  | X |  | Level 1 modification can be submitted with annual renewal. Only the annual renewal fee will be charged. | N/A
Method modifications that are not covered by any other section of this document. |  |  | X | X | X | X | Discuss with AOAC to determine level of change. | Discuss with AOAC to determine level of change.